## Sheet1
Date | 41 CS Gas Use (therm) | 41CS Con Ed Gas Bill Amt | 41CS ESCO Gas Use (MMBTU) | 41CS ESCO Gas Use (therm) | 41 CS ESCO Gas Supply Amt | FB Gas Use (therm) | FB Con Ed Gas Bill Amt | FB ESCO Gas Amt (MMBTU) | FB ESCO Gas Supply Amt | RH Gas Use (therm) | RH Con Ed Gas Bill Amt | RH Gas ESCOAmt (MMBTU) | RH ESCO Gas Supply Amt | Total Gas Use (therm) | Total Con Ed Gas Bill Amt | Total ESCO Gas Bill Amt | Total Gas Bill Amt | Con Ed $/therm | ESCO $/therm | Total $/therm | 41CS Gas Rate Based | FB Gas Rate Based | RH Gas Rate Based | 41 CS Elec Use (Kwh) | 41 CS Elec Demand (Kw) | 41CS Con Ed Electric Bill Amt | 41 CS ESCO Electric Supply Amt | FB Elec Use (Kwh) | FB Elec Demand (Kw) | FB Con Ed Electric Bill Amt | FB ESCO Electric Supply Amt | RH Elec Use (Kwh) | RH Elec Demand (Kw) | RH Con Ed Electric Bill Amt | RH ESCO Electric Supply Amt | Total Elec Use (kWh) | Total Con Ed Electric Bill Amt | Total ESCO Electric Bill Amt | Total Electric Bill Amt | Con Ed $/kW | ESCO $/kW | Total $/kW | equipment room | equipment type
2022-12-01 | 20576 | 15477.95 | 2057.2091 | 20576 | 8973.19 | 18992 | 14110.9 | 1854.6875 | 8282.41 | 2190 | 2708.78 | 213.8672 | 955.06 | 41758 | 32297.63 | 18210.66 | 50508.29 | 0.7734 | 0.4361 | 1.21 | 9518.4576 | 8785.6992 | 1013.094 | 230400 | 475 | 22705.15 | 21819.72 | 149600 | 330.7 | 15096.46 | 14251.88 | 33600 | 100 | 4176.34 | 3119.22 | 413600 | 41977.95 | 39190.82 | 81168.77 | 0.1 | 0.09 | 0.1962 | LL114 DATA RM | damper
2022-11-01 | 14807 | 11403.31 | 1480.4187 | 14807 | 6457.33 | 3278 | 3247.21 | 320.1172 | 1429.54 | 1690 | 2098.62 | 165.0391 | 737.01 | 19775 | 16749.14 | 8623.88 | 25373.02 | 0.847 | 0.4361 | 1.283 | 6849.7182 | 1516.4028 | 781.794 | 268000 | 578 | 27721.95 | 25378.59 | 186400 | 420.9 | 20422.75 | 17716.97 | 28000 | 56 | 2860.86 | 2609.76 | 482400 | 51005.56 | 45705.32 | 96710.88 | 0.11 | 0.09 | 0.2005 | LL112 FIRE PUMP | damper
2022-10-01 | 6522 | 5725.46 | 652.0761 | 6522 | 2844.24 | 2466 | 2467.63 | 240.8203 | 1075.42 | 505 | 682.01 | 49.3164 | 220.23 | 9493 | 8875.1 | 4139.89 | 13014.99 | 0.9349 | 0.4361 | 1.371 | 3017.0772 | 1140.7716 | 233.613 | 259200 | 541 | 30917.39 | 25579.26 | 160800 | 389.2 | 19199.25 | 15354.26 | 47200 | 108 | 5610.46 | 4397.7 | 467200 | 55727.1 | 45331.22 | 101058.32 | 0.12 | 0.1 | 0.2163 | LL107 ELECTRIC/SWITCHGEAR | damper
2022-09-01 | 5990 | 4097.62 | 598.8862 | 5990 | 2612.24 | 237 | 253.17 | 23.1445 | 103.36 | 471 | 539.37 | 45.9961 | 205.4 | 6698 | 4890.16 | 2921 | 7811.16 | 0.7301 | 0.4361 | 1.166 | 2770.974 | 109.6362 | 217.8846 | 278000 | 624 | 28122.83 | 26403.31 | 199200 | 444.9 | 22061.94 | 19045.43 | 43600 | 108 | 4766.68 | 4066.49 | 520800 | 54951.45 | 49515.23 | 104466.68 | 0.11 | 0.1 | 0.2006 | 107 RECYCLING RM | damper
2022-08-01 | 5139 | 4165.19 | 513.8024 | 5139 | 2241.12 | 0 | 34.45 | 0 | 0 | 539 | 662.31 | 52.6367 | 235.06 | 5678 | 4861.95 | 2476.18 | 7338.13 | 0.8563 | 0.4361 | 1.292 | 2377.3014 | 0 | 249.3414 | 364800 | 739 | 40306.42 | 35683.45 | 236800 | 441.6 | 23597.61 | 22644.43 | 50000 | 104 | 5715.8 | 4652.84 | 651600 | 69619.83 | 62980.72 | 132600.55 | 0.11 | 0.1 | 0.2035 | 219 CORRIDOR | damper
2022-07-01 | 4696 | 3799.97 | 469.5108 | 4696 | 2047.93 | 31 | 67.13 | 3.0273 | 13.52 | 488 | 599.72 | 47.6562 | 212.82 | 5215 | 4466.82 | 2274.27 | 6741.09 | 0.8565 | 0.4361 | 1.293 | 2172.3696 | 14.3406 | 225.7488 | 344800 | 750 | 38421.17 | 35630.81 | 232800 | 438.2 | 23821.44 | 24182.26 | 31600 | 100 | 4556.72 | 2974.3 | 609200 | 66799.33 | 62787.37 | 129586.7 | 0.11 | 0.1 | 0.2127 | LL120 | damper
2022-06-01 | 4665 | 3807.7 | 466.4114 | 4665 | 2034.41 | 21 | 56.7 | 2.0508 | 9.16 | 502 | 620.7 | 49.0234 | 220.23 | 5188 | 4485.1 | 2263.8 | 6748.9 | 0.8645 | 0.4364 | 1.301 | 2158.029 | 9.7146 | 232.2252 | 289200 | 579 | 33408.83 | 28879.06 | 194400 | 424.8 | 23660.19 | 17628.19 | 32800 | 100 | 4955.48 | 3301.7 | 516400 | 62024.5 | 49808.95 | 111833.45 | 0.12 | 0.1 | 0.2166 | 623 DATA RM | damper
2022-05-01 | 7235 | 6054.01 | 723.6625 | 7238 | 3156.49 | 1423 | 1465.2 | 138.9648 | 620.57 | 539 | 695.72 | 52.6367 | 235.06 | 9197 | 8214.93 | 4012.12 | 12227.05 | 0.8932 | 0.4363 | 1.329 | 3346.8185 | 658.2798 | 249.3414 | 302000 | 630 | 32382.23 | 31144.72 | 204000 | 412.8 | 21424.63 | 18498.72 | 34800 | 100 | 4578.44 | 3155.66 | 540800 | 58385.3 | 52799.1 | 111184.4 | 0.11 | 0.1 | 0.2056 | 622 ELECTRIC RM | damper
2022-04-01 | 10020 | 6802.32 | 1001.8096 | 10020 | 4369.72 | 4855 | 3627.4 | 474.1211 | 2117.27 | 488 | 578.69 | 47.6562 | 212.82 | 15363 | 11008.41 | 6699.81 | 17708.22 | 0.7166 | 0.4361 | 1.153 | 4635.252 | 2245.923 | 225.7488 | 254800 | 624 | 27838.37 | 15743.77 | 159200 | 335 | 16070.2 | 11095.57 | 31600 | 100 | 4058.91 | 1919.99 | 445600 | 47967.48 | 28759 | 76726.81 | 0.11 | 0.06 | 0.1722 | 610A ELECTRIC EM | damper
2022-03-01 | 15918 | 11016.99 | 1591.4976 | 15918 | 6941.84 | 507 | 508.34 | 49.5117 | 221.1 | 1593 | 1861.22 | 155.5664 | 694.71 | 18018 | 13386.55 | 7857.65 | 21244.2 | 0.743 | 0.4361 | 1.179 | 7363.6668 | 234.5382 | 736.9218 | 234000 | 456 | 22077.09 | 14075.5 | 156000 | 337.9 | 15575.58 | 10838.91 | 31600 | 100 | 3986.22 | 1919.99 | 421600 | 41638.89 | 26834 | 68473.29 | 0.1 | 0.06 | 0.1624 | 625 CORRIDOR | damper
2022-02-01 | 21776 | 15224.62 | 2177.1863 | 21776 | 9496.51 | 21683 | 14701.29 | 2117.4805 | 9455.96 | 2118 | 2512.54 | 206.8359 | 923.66 | 45577 | 32438.45 | 19876.13 | 52314.58 | 0.7117 | 0.4361 | 1.148 | 10073.5776 | 10030.5558 | 979.7868 | 245200 | 443 | 19188.91 | 14811.98 | 180800 | 353.7 | 15450.76 | 12654.92 | 32400 | 100 | 3648.8 | 1962.97 | 458400 | 38288.47 | 29430 | 67718.34 | 0.08 | 0.06 | 0.1477 | 627A LOUNGE | damper
2022-01-01 | 31391 | 17856.11 | 3138.5047 | 31391.01 | 13689.62 | 21373 | 12637.1 | 2087.207 | 9320.77 | 3064 | 3067.99 | 299.2188 | 1336.21 | 55828 | 33561.2 | 24346.6 | 57907.8 | 0.6012 | 0.4361 | 1.037 | 14521.4766 | 9887.1498 | 1417.4064 | 242800 | 440 | 24442.94 | 14295.88 | 105600 | 300 | 13172.77 | 6738.89 | 35200 | 100 | 4586.89 | 2145.16 | 383600 | 42202.6 | 23180 | 65382.53 | 0.11 | 0.06 | 0.1704 | 410A ELECTRIC RM | damper
2021-12-01 | 20387 | 18500.64 | 2432.8377 | 24333 | 10611.62 | 18992 | 23114.24 | 1854.6875 | 8282.41 | 2850 | 3343.26 | 278.3203 | 1242.89 | 42229 | 44958.14 | 20136.92 | 65095.06 | 1.0646 | 0.4769 | 1.541 | 9431.0262 | 8785.6992 | 1318.41 | 238000 | 430 | 22239.96 | 18188.44 | 78400 | 240.48 | 9642.55 | 4466.92 | 33600 | 100 | 4175.05 | 1997.59 | 350000 | 36057.56 | 24653 | 60710.51 | 0.1 | 0.07 | 0.1735 | 425 ELECTRIC RM | damper
2021-11-01 | 13602 | 5904.96 | 989.81 | 9900 | 4004.67 | 16514 | 10045.6 | 1345.68 | 5444.5 | 1480 | 1430.37 | 151.72 | 613.84 | 31596 | 17380.93 | 10063.01 | 27443.94 | 0.5501 | 0.3185 | 0.869 | 6292.2852 | 7639.3764 | 684.648 | 266000 | 444 | 25158.84 | 15677.52 | 88800 | 404.16 | 15524.71 | 5058.32 | 28000 | 56 | 2951.23 | 1515.82 | 382800 | 43634.78 | 22252 | 65886.44 | 0.11 | 0.06 | 0.1721 | 426 DATA RM | damper
2021-10-01 | 6811 | 6835.57 | 698.24 | 6984 | 2760.43 | 9185 | 9228.46 | 912.35 | 3606.88 | 952 | 1273.27 | 97.59 | 385.82 | 16948 | 17337.3 | 6753.13 | 24090.43 | 1.023 | 0.3985 | 1.421 | 3150.7686 | 4248.981 | 440.3952 | 294400 | 588 | 29005 | 18389.08 | 160000 | 357.12 | 16400.77 | 10938.35 | 47200 | 108 | 5023.91 | 3087.5 | 501600 | 50429.68 | 32415 | 82844.61 | 0.1 | 0.06 | 0.1652 | 428 CORRIDOR | damper
2021-09-01 | 5207 | 3978.04 | 533.74 | 5339 | 2110.09 | 9908 | 6905.78 | 985.13 | 3894.62 | 238 | 289.49 | 24.4 | 96.47 | 15353 | 11173.31 | 6101.18 | 17274.49 | 0.7278 | 0.3974 | 1.125 | 2408.7582 | 4583.4408 | 110.0988 | 332400 | 627 | 36359.11 | 21217.81 | 172800 | 377.28 | 20744.12 | 11774.96 | 48400 | 108 | 5819.56 | 3255.41 | 553600 | 62922.79 | 36248 | 99170.97 | 0.11 | 0.07 | 0.1791 | 308A ELECTRIC RM | damper
2021-08-01 | 5005 | 3644.28 | 513.08 | 5132 | 2028.41 | 8122 | 5471.9 | 806.77 | 3189.49 | 488 | 526.35 | 50.03 | 197.79 | 13615 | 9642.53 | 5415.69 | 15058.22 | 0.7082 | 0.3978 | 1.106 | 2315.313 | 3757.2372 | 225.7488 | 343600 | 689 | 36795.24 | 22415.47 | 168000 | 465.12 | 21752.95 | 11567.26 | 45600 | 104 | 5301.73 | 2421.75 | 557200 | 63849.92 | 36404 | 100254.4 | 0.11 | 0.07 | 0.1799 | 325 ELECTRIC RM | damper
2021-07-01 | 5361 | 3830.63 | 549.59 | 5497 | 2172.75 | 8956 | 5925.08 | 888.78 | 3513.7 | 1558 | 1575.42 | 159.752 | 631.44 | 15875 | 11331.13 | 6317.89 | 17649.02 | 0.7138 | 0.398 | 1.112 | 2479.9986 | 4143.0456 | 720.7308 | 322800 | 665 | 35494.73 | 20777.17 | 152800 | 464.16 | 21208.06 | 10372.33 | 31600 | 100 | 4546.7 | 1806.64 | 507200 | 61249.49 | 32956 | 94205.63 | 0.12 | 0.06 | 0.1857 | 326 DATA RM | damper
2021-06-01 | 5940 | 3986.63 | 608.89 | 6090 | 2407.19 | 9546 | 5992.98 | 948.23 | 3748.73 | 280 | 312.97 | 28.71 | 113.5 | 15766 | 10292.58 | 6269.42 | 16562 | 0.6528 | 0.3977 | 1.05 | 2747.844 | 4415.9796 | 129.528 | 341200 | 841 | 44419.53 | 30541.14 | 166400 | 464.16 | 23658.32 | 14243.42 | 25600 | 72 | 3658.34 | 2589.36 | 533200 | 71736.19 | 47374 | 119110.11 | 0.13 | 0.09 | 0.2234 | LL112 FIRE PUMP RM | damper
2021-05-01 | 7787 | 4286.27 | 798.24 | 7984 | 3155.76 | 9919 | 5091.97 | 987.18 | 3902.72 | 344 | 345.69 | 35.26 | 139.4 | 18050 | 9723.93 | 7197.88 | 16921.81 | 0.5387 | 0.3988 | 0.937 | 3602.2662 | 4588.5294 | 159.1344 | 292400 | 782 | 37179.26 | 26952.46 | 112000 | 343.68 | 14691.68 | 10719.66 | 28000 | 72 | 3536 | 2816.49 | 432400 | 55406.94 | 40489 | 95895.55 | 0.13 | 0.09 | 0.2218 | LL114 DATA RM | damper
2021-04-01 | 8473 | 6328.78 | 868.55 | 8688 | 3433.72 | 9990 | 7433.18 | 992.31 | 3923 | 680 | 775.94 | 69.71 | 275.59 | 19143 | 14537.9 | 7632.31 | 22170.21 | 0.7594 | 0.3987 | 1.158 | 3919.6098 | 4621.374 | 314.568 | 225600 | 419 | 21781.56 | 21329.56 | 73600 | 204.96 | 8548.22 | 7573.22 | 25200 | 72 | 3060.66 | 2538.68 | 324400 | 33390.44 | 31441 | 64831.9 | 0.1 | 0.1 | 0.1999 | LL108 CHILLER MER/FIRE PUMP RM | damper
2021-03-01 | 12677 | 10026 | 1299.52 | 12998 | 5137.53 | 13008 | 10463.09 | 1289.59 | 5098.27 | 1331 | 1606.34 | 136.44 | 539.4 | 27016 | 22095.43 | 10775.2 | 32870.63 | 0.8179 | 0.3988 | 1.217 | 5864.3802 | 6017.5008 | 615.7206 | 203600 | 400 | 18775.73 | 19479.38 | 84800 | 218.4 | 9178.54 | 8517.54 | 26400 | 64 | 2747.7 | 2613.81 | 314800 | 30701.97 | 30611 | 61312.7 | 0.1 | 0.1 | 0.1948 | LL107 ELECTRIC RM | damper
2021-02-01 | 25206 | 12721.54 | 2583.9 | 25845 | 10215.19 | 21704 | 11187.91 | 2147.61 | 8490.36 | 2421 | 2158.98 | 248.18 | 981.15 | 49331 | 26068.43 | 19686.7 | 45755.13 | 0.5284 | 0.3991 | 0.928 | 11660.2956 | 10040.2704 | 1119.9546 | 222800 | 368 | 21367.75 | 21236.44 | 97600 | 189.12 | 10359.99 | 9715.28 | 31600 | 60 | 3263.69 | 3061.05 | 352000 | 34991.43 | 34013 | 69004.2 | 0.1 | 0.1 | 0.196 | LL117A CONTROL RM | damper
2021-01-01 | 26910 | 14120.48 | 3351.78 | 33526 | 13250.93 | 21397 | 13581.81 | 2139.7 | 8323.43 | 1639.5 | 1565.12 | 336.13 | 1328.86 | 49947 | 29267.41 | 22903.22 | 52170.63 | 0.586 | 0.4586 | 1.045 | 12448.566 | 9898.2522 | 758.4327 | 235600 | 367 | 20910.4 | 22484.06 | 85600 | 228 | 9627.74 | 8442.61 | 32000 | 60 | 3147.81 | 3055.69 | 353200 | 33685.95 | 33982 | 67668.31 | 0.1 | 0.1 | 0.1916 | 110 ELECTRIC RM | damper
2020-12-01 | 25603 | 20695.95 | 2560.3 | 25603 | 9959.57 | 17131 | 15340.49 | 1713.1 | 6663.96 | 1639.5 | 1565.12 | 163.95 | 637.77 | 44374 | 37601.56 | 17261.29 | 54862.85 | 0.8474 | 0.389 | 1.236 | 11843.9478 | 7924.8006 | 758.4327 | 232000 | 362 | 20971.54 | 22077.22 | 92000 | 247.68 | 11138.77 | 9338.88 | 30000 | 64 | 3155.63 | 2954.5 | 354000 | 35265.94 | 34371 | 69636.54 | 0.1 | 0.1 | 0.1967 | 109 DATA RM | damper
2020-11-01 | 12161 | 8476.73 | 1138.92 | 11392 | 4502.61 | 6365 | 6069.99 | 636.5 | 2475.99 | 1055 | 1160.17 | 108.09 | 427.32 | 19581 | 15706.89 | 7405.92 | 23112.81 | 0.8021 | 0.3782 | 1.18 | 5625.6786 | 2944.449 | 488.043 | 284800 | 511 | 26277.63 | 26599.53 | 92000 | 224.16 | 9646.09 | 9275.04 | 37600 | 84 | 3930.22 | 3609.65 | 414400 | 39853.94 | 39484 | 79338.16 | 0.1 | 0.1 | 0.1915 | 107A HAZMAT RM | damper
2020-10-01 | 13186 | 6550.33 | 1351.02 | 13513 | 5341.13 | 9843 | 5331.32 | 974.38 | 3852.12 | 1498 | 1291.75 | 153.48 | 606.77 | 24527 | 13173.4 | 9800.02 | 22973.42 | 0.5371 | 0.3996 | 0.937 | 6099.8436 | 4553.3718 | 692.9748 | 268800 | 421 | 21660.72 | 26477.64 | 66400 | 167.52 | 6750.42 | 7198.7 | 30000 | 64 | 2863.77 | 2973.72 | 365200 | 31274.91 | 36650 | 67924.97 | 0.09 | 0.1 | 0.186 | 107 RECYLING RM | damper
2020-09-01 | 9554 | 4964.7 | 978.91 | 9791 | 3870.03 | 9285 | 4854.32 | 920.08 | 3637.44 | 224 | 227.56 | 22.95 | 90.74 | 19063 | 10046.58 | 7598.21 | 17644.79 | 0.527 | 0.3986 | 0.926 | 4419.6804 | 4295.241 | 103.6224 | 300000 | 592 | 28305.87 | 20247.3 | 120800 | 322.08 | 13954.01 | 10237.32 | 46400 | 100 | 4650.14 | 4205.3 | 467200 | 46910.02 | 34690 | 81599.94 | 0.1 | 0.07 | 0.1747 | 219 CORRIDOR RM | damper
2020-08-01 | 9535 | 4720.83 | 976.9 | 9771 | 3862.08 | 8946 | 4470.81 | 887.29 | 3507.81 | 109 | 230.37 | 22.51 | 87.55 | 18590 | 9422.01 | 7282.34 | 16704.35 | 0.5068 | 0.3917 | 0.899 | 4410.891 | 4138.4196 | 50.1921 | 326400 | 642 | 30135.65 | 29250.69 | 149600 | 324 | 14637.44 | 13611.7 | 44000 | 104 | 4089.19 | 2557.67 | 520000 | 48862.28 | 45420 | 94282.34 | 0.09 | 0.09 | 0.1813 | 212 DATA RM | damper
2020-07-01 | 1847 | 1201.99 | 2620.18 | 26208 | 10358.72 | 8927 | 4413.75 | 886.27 | 3503.78 | 109 | 436.74 | 44.37 | 175.41 | 10883 | 6052.48 | 14037.91 | 20090.39 | 0.5562 | 1.29 | 1.846 | 854.4222 | 4129.6302 | 50.1921 | 341600 | 706 | 30521.09 | 33818.55 | 135200 | 296.16 | 12526.23 | 12479.66 | 60800 | 124 | 5433.44 | 5928.64 | 537600 | 48480.76 | 52227 | 100707.61 | 0.09 | 0.1 | 0.1873 | 522 DATA RM | damper
2020-06-01 | 22940 | 10366.44 | 2514.11 | 25147 | 9939.28 | 9135 | 4545.86 | 907.79 | 3588.85 |  |  |  |  | 32075 | 14912.3 | 13528.13 | 28440.43 | 0.4649 | 0.4218 | 0.887 | 10612.044 | 4225.851 | 0 | 342400 | 672 | 31066.22 | 29899.4 | 109600 | 390.72 | 15208.29 | 9570.6 | 27600 | 72 | 3090.97 | 2410.12 | 479600 | 49365.48 | 41880 | 91245.6 | 0.1 | 0.09 | 0.1903 | 524 CORRIDOR RM | damper
2020-05-01 | 11063 | 3550.56 | 2516.56 | 25172 | 9948.97 | 7399 | 2561.76 | 734.63 | 2904.29 | 324 | 249.16 | 33.19 | 131.21 | 18786 | 6361.48 | 12984.47 | 19345.95 | 0.3386 | 0.6912 | 1.03 | 5117.7438 | 3422.7774 | 149.8824 | 243600 | 414 | 17082.48 | 21271.88 | 48800 | 141.12 | 4774.16 | 4261.37 | 26400 | 72 | 2521.13 | 4086.72 | 318800 | 24377.77 | 29620 | 53997.74 | 0.08 | 0.09 | 0.1694 | 509A ELECTRIC RM | damper
2020-04-01 | 10712 | 4315.01 | 2435.52 | 24361 | 9628.98 | 7166 | 2983.95 | 710.04 | 2807.08 | 681 | 507.07 | 69.78 | 275.86 | 18559 | 7806.03 | 12711.92 | 20517.95 | 0.4206 | 0.6849 | 1.106 | 4955.3712 | 3314.9916 | 315.0306 | 214800 | 353 | 14242.85 | 19460.88 | 16800 | 48.48 | 3721.18 | 1522.08 | 38000 | 76 | 2364.97 | 2283.12 | 269600 | 20329 | 23266 | 43595.08 | 0.08 | 0.09 | 0.1617 | 529A LOUNGE | damper
2020-03-01 | 11013 | 4420.52 | 2440.33 | 24409 | 9647.61 | 15654 | 9660.49 | 1548.15 | 6120.45 | 1336 | 1382.23 | 136.88 | 541.14 | 28003 | 15463.24 | 16309.2 | 31772.44 | 0.5522 | 0.5824 | 1.135 | 5094.6138 | 7241.5404 | 618.0336 | 225200 | 475 | 18789.55 | 20403.12 | 70400 | 277.92 | 9086.48 | 6378.24 | 31600 | 64 | 2468.14 | 2500.56 | 327200 | 30344.17 | 29282 | 59626.09 | 0.09 | 0.09 | 0.1822 | 724 DATA | damper
2020-02-01 | 11573 | 4777.5 | 2696.63 | 26973 | 10538.08 | 15742 | 8814.73 | 1553.33 | 6069.95 | 2194 | 2049.43 | 224.79 | 878.44 | 29509 | 15641.66 | 17486.47 | 33128.13 | 0.5301 | 0.5926 | 1.123 | 5353.6698 | 7282.2492 | 1014.9444 | 296800 | 530 | 24523.01 | 26890.08 | 107200 | 323.04 | 11495.31 | 9712.32 | 34000 | 60 | 2837.67 | 3080.4 | 438000 | 38855.99 | 39683 | 78538.79 | 0.09 | 0.09 | 0.1793 | 723 ELECTRIC | damper
2020-01-01 | 24681 | 9394.93 | 2525.85 | 25265 | 9825.55 | 16447 | 9561.78 | 1623.06 | 6313.7 | 2215 | 2108.39 | 226.69 | 881.82 | 43343 | 21065.1 | 17021.07 | 38086.17 | 0.486 | 0.3927 | 0.879 | 11417.4306 | 7608.3822 | 1024.659 | 281200 | 499 | 22484.47 | 25476.72 | 88000 | 225 | 8598.47 | 7972.8 | 30000 | 60 | 2572.61 | 2718 | 399200 | 33655.55 | 36168 | 69823.07 | 0.08 | 0.09 | 0.1749 | 725 CORRIDOR | damper
2019-12-01 | 29513 | 10088.44 | 3020 | 30203 | 11746.01 | 19156 | 8715.46 | 1891.75 | 7358.91 | 2242 | 1769.33 | 229.39 | 892.33 | 50911 | 20573.23 | 19997.25 | 40570.48 | 0.4041 | 0.3928 | 0.797 | 13652.7138 | 8861.5656 | 1037.1492 | 324400 |  | 26002.57 | 29260.88 | 105600 |  |  | 20833.62 | 32000 |  | 5687.7 |  | 462000 | 31690.27 | 50095 | 81784.77 | 0.07 | 0.11 | 0.177 | 728B LOUNGE | damper
2019-11-01 | 23986 | 8047.79 | 2454 | 24546 | 9546.26 | 16514 | 4917.84 | 1630.86 | 6344.05 | 1913 | 1130.97 | 195.73 | 761.39 | 42413 | 14096.6 | 16651.7 | 30748.3 | 0.3324 | 0.3926 | 0.725 | 11095.9236 | 7639.3764 | 884.9538 | 277600 |  | 22767.31 | 25039.52 | 132000 |  |  | 25797.23 |  |  |  |  | 409600 | 22767.31 | 50837 | 73604.06 | 0.06 | 0.12 | 0.1797 | 815 SERVER RM | damper
2019-10-01 | 10454 | 3783.46 | 1070 | 10698 | 4160.43 | 9212 | 5428.65 | 910.58 | 3542.16 | 1017 | 865.65 | 104.06 | 404.79 | 20683 | 10077.76 | 8107.38 | 18185.14 | 0.4872 | 0.392 | 0.879 | 4836.0204 | 4261.4712 | 470.4642 | 335600 |  | 26582.4 | 30271.12 | 112000 |  |  | 22522.4 | 70000 |  | 12830.42 |  | 517600 | 39412.82 | 52794 | 92206.34 | 0.08 | 0.1 | 0.1781 | 807A ELECTRIC RM | damper
2019-09-01 | 9124 | 3305.66 | 934 | 9338 | 3631.47 | 8959 | 4223.82 | 889.1 | 3458.6 | 352 | 295.3 | 36.02 | 140.12 | 18435 | 7824.78 | 7230.19 | 15054.97 | 0.4245 | 0.3922 | 0.817 | 4220.7624 | 4144.4334 | 162.8352 | 345200 |  | 30990.3 | 31137.04 | 152800 |  |  | 28437.52 | 54800 |  | 9732.79 |  | 552800 | 40723.09 | 59575 | 100297.65 | 0.07 | 0.11 | 0.1814 | 819 CORRIDOR RM | damper
2019-08-01 | 8916 | 3282.26 | 912 | 9125 | 3548.69 | 9247 | 3978.78 | 916.72 | 3566.04 | 190 | 171.99 | 19.44 | 75.62 | 18353 | 7433.03 | 7190.35 | 14623.38 | 0.405 | 0.3918 | 0.797 | 4124.5416 | 4277.6622 | 87.894 | 390000 |  | 33771.24 | 35178 | 174400 |  |  | 30775.51 | 58800 |  | 10237.22 |  | 623200 | 44008.46 | 65954 | 109961.97 | 0.07 | 0.11 | 0.1764 | 818 ELECTRIC RM | damper
2019-07-01 | 4834 | 1974.53 | 495 | 4947 | 1924.07 | 9555 | 4097.89 | 946.39 | 3681.46 | 207 | 182.25 | 21.18 | 82.39 | 14596 | 6254.67 | 5687.92 | 11942.59 | 0.4285 | 0.3897 | 0.818 | 2236.2084 | 4420.143 | 95.7582 | 406800 |  | 32292.76 | 37384.92 | 209600 |  |  | 37530.34 | 60800 |  | 10574.42 |  | 677200 | 42867.18 | 74915 | 117782.44 | 0.06 | 0.11 | 0.1739 | 818A JANITOR'S CLOSET | damper
2019-06-01 | 5444 | 2220.8 | 557 | 5571 | 2166.49 | 8568 | 3734.26 | 850.21 | 3307.32 | 299 | 250.58 | 30.59 | 119 | 14311 | 6205.64 | 5592.81 | 11798.45 | 0.4336 | 0.3908 | 0.824 | 2518.3944 | 3963.5568 | 138.3174 | 351200 |  | 28055.84 | 32275.28 | 159200 |  |  | 31174.98 | 58800 |  | 10187.11 |  | 569200 | 38242.95 | 63450 | 101693.21 | 0.07 | 0.11 | 0.1787 | 817 MEN'S BATHROOM | damper
2019-05-01 | 7110 | 2709.52 | 728 | 7277 | 2829.97 | 2776 | 1575.48 | 275.22 | 1070.61 | 324 | 263.46 | 33.15 | 128.95 | 10210 | 4548.46 | 4029.53 | 8577.99 | 0.4455 | 0.3947 | 0.84 | 3289.086 | 1284.1776 | 149.8824 | 289600 |  | 20719.83 | 26614.24 | 162400 |  |  | 28633.51 | 46800 |  | 7612.88 |  | 498800 | 28332.71 | 55248 | 83580.46 | 0.06 | 0.11 | 0.1676 | 822A LOUNGE | damper
2019-04-01 | 9565 | 4946.01 | 979 | 9788 | 3806.6 | 12294 | 6138.64 | 1216.49 | 4732.15 | 681 | 586.5 | 69.68 | 271.06 | 22540 | 11671.15 | 8809.81 | 20480.96 | 0.5178 | 0.3909 | 0.909 | 4424.769 | 5687.2044 | 315.0306 | 295600 |  | 20767.99 | 27165.64 | 124800 |  |  | 22600.17 | 38000 |  | 6237.57 |  | 458400 | 27005.56 | 49766 | 76771.37 | 0.06 | 0.11 | 0.1675 | 906A ELECTRIC RM | damper
2019-03-01 | 26542 | 11127.62 | 2716 | 27163 | 10563.68 | 14649 | 6169.88 | 1446.7 | 5627.66 | 1868 | 1415.35 | 191.12 | 743.46 | 43059 | 18712.85 | 16934.8 | 35647.65 | 0.4346 | 0.3933 | 0.828 | 12278.3292 | 6776.6274 | 864.1368 | 242400 |  | 20455.83 | 22203.84 | 100000 |  |  | 18080.15 | 34000 |  | 5789.41 |  | 376400 | 26245.24 | 40284 | 66529.23 | 0.07 | 0.11 | 0.1768 | 915 DATA | damper
2019-02-01 | 34245 | 11764.05 | 3504 | 35046 | 13629.51 | 20490 | 7704.67 | 2019.64 | 7856.4 | 2960 | 1964.13 | 302.85 | 1178.09 | 57695 | 21432.85 | 22664 | 44096.85 | 0.3715 | 0.3928 | 0.764 | 15841.737 | 9478.674 | 1369.296 | 235200 |  | 19201.98 | 21544.32 | 116800 |  |  | 19416.24 | 35600 |  | 5927.23 |  | 387600 | 25129.21 | 40961 | 66089.77 | 0.06 | 0.11 | 0.1705 | 919B&Lounge | damper
2019-01-01 | 29165 | 9821.47 | 2984 | 29846 | 11607.41 | 23679 | 8186.31 | 2331.7 | 9070.31 | 3417 | 2224.23 | 349.6 | 1359.94 | 56261 | 20232.01 | 22037.66 | 42269.67 | 0.3596 | 0.3917 | 0.751 | 13491.729 | 10953.9054 | 1580.7042 | 248800 |  | 17764.59 | 21794.88 | 108000 |  |  | 18545.29 | 35200 |  | 5477.08 |  | 392000 | 23241.67 | 40340 | 63581.84 | 0.06 | 0.1 | 0.1622
2018-12-01 | 22721 | 10030.62 | 2322 | 23222 | 9031.06 | 17484 | 7639.65 | 1722.54 | 6700.68 | 2359 | 1887.06 | 241.05 | 937.68 | 42564 | 19557.33 | 16669.42 | 36226.75 | 0.4595 | 0.3916 | 0.851 | 10510.73 | 8088.1 | 1091.27 | 274000 |  | 19209.99 | 24002.4 | 93600 |  |  | 16786.85 | 33600 |  | 5362.65 |  | 401200 | 24572.64 | 40789 | 65361.89 | 0.06 | 0.1 | 0.1629
2018-11-01 | 23895 | 7486.94 |  | 0 |  | 18155 | 5997.09 |  |  | 2320 | 1492.56 |  |  | 44370 | 14976.59 | 0 | 14976.59 | 0.3375 | 0 | 0.338 | 11053.83 | 8398.5 | 1073.23 | 263600 |  | 23926.24 | 23091.36 | 130400 |  |  | 24158.61 | 36000 |  | 5893.12 |  | 430000 | 29819.36 | 47250 | 77069.33 | 0.07 | 0.11 | 0.1792
2018-10-01 | 20638 | 6935.29 |  | 0 |  | 13124 | 4400.74 |  |  | 954 | 660.87 |  |  | 34716 | 11996.9 | 0 | 11996.9 | 0.3456 | 0 | 0.346 | 9547.14 | 6071.16 | 441.32 | 213200 |  | 20011.5 | 18676.32 | 143200 |  |  | 24607.46 | 38800 |  | 6654.3 |  | 395200 | 26665.8 | 43284 | 69949.58 | 0.07 | 0.11 | 0.177
2018-09-01 | 15805 | 6682.93 |  | 0 |  | 8956 | 4030.45 |  |  | 409 | 341.23 |  |  | 25170 | 11054.61 | 0 | 11054.61 | 0.4392 | 0 | 0.439 | 7311.39 | 4143.05 | 189.2 | 244800 |  | 24639.39 | 21444.48 | 171200 |  |  | 31652.36 | 49600 |  | 8968.71 |  | 465600 | 33608.1 | 53097 | 86704.94 | 0.07 | 0.11 | 0.1862
2018-08-01 | 19267 | 7542.34 |  | 0 |  | 9907 | 4196.54 |  |  | 212 | 190.26 |  |  | 29386 | 11929.14 | 0 | 11929.14 | 0.4059 | 0 | 0.406 | 8912.91 | 4582.98 | 98.07 | 290800 |  | 26919.19 | 26084.76 | 209600 |  |  | 36954.47 | 50400 |  | 9463.94 |  | 550800 | 36383.13 | 63039 | 99422.36 | 0.07 | 0.11 | 0.1805
2018-07-01 | 19121 | 7502.08 |  | 0 |  | 9008 | 3810.13 |  |  | 272 | 234.42 |  |  | 28401 | 11546.63 | 0 | 11546.63 | 0.4066 | 0 | 0.407 | 8845.37 | 4167.1 | 125.83 | 281200 |  | 52023.7 |  | 155200 |  |  | 32089.91 | 54400 |  | 9664.97 |  | 490800 | 61688.67 | 32090 | 93778.58 | 0.13 | 0.07 | 0.1911
2018-06-01 | 20805 | 8096.76 |  | 0 |  | 9340 | 3952.33 |  |  | 284 | 241.82 |  |  | 30429 | 12290.91 | 0 | 12290.91 | 0.4039 | 0 | 0.404 | 9624.39 | 4320.68 | 131.38 | 278400 |  | 49771.9 |  | 132000 |  |  | 27251.35 | 52400 |  | 9384.27 |  | 462800 | 59156.17 | 27251 | 86407.52 | 0.13 | 0.06 | 0.1867
2018-05-01 | 20610 | 9751.98 |  | 0 |  | 9672 | 5316.39 |  |  | 312 | 295.77 |  |  | 30594 | 15364.14 | 0 | 15364.14 | 0.5022 | 0 | 0.502 | 9534.19 | 4474.27 | 144.33 | 291200 |  | 51753.52 |  | 139200 |  |  | 17002.19 | 43600 |  | 6707.24 |  | 474000 | 58460.76 | 17002 | 75462.95 | 0.12 | 0.04 | 0.1592
2018-04-01 | 25257 | 8181.41 | 1112 | 11124 | 5144.76 | 11497 | 3701.97 |  |  | 1267 | 849.83 |  |  | 38021 | 12733.21 | 5144.76 | 17877.97 | 0.3349 | 0.1353 | 0.47 | 11683.89 | 5318.51 | 586.11 | 271600 |  | 40864.22 |  | 119200 |  |  | 19971.31 | 36400 |  | 5973.61 |  | 427200 | 46837.83 | 19971 | 66809.14 | 0.11 | 0.05 | 0.1564
2018-03-01 | 44381 | 11977.75 | 2202 | 22027 | 10187.15 | 17326 | 5068.16 |  |  | 2390 | 1474.19 |  |  | 64097 | 18520.1 | 10187.15 | 28707.25 | 0.2889 | 0.1589 | 0.448 | 20530.65 | 8015.01 | 1105.61 | 246400 |  | 39280.14 |  | 101600 |  |  | 17082.39 | 30800 |  | 4747.89 |  | 378800 | 44028.03 | 17082 | 61110.42 | 0.12 | 0.05 | 0.1613
2018-02-01 | 28162 | 14772.35 | 1317 | 13176 | 6093.69 | 14542 | 7952.55 |  |  | 1899 | 1752.96 |  |  | 44603 | 24477.86 | 6093.69 | 30571.55 | 0.5488 | 0.1366 | 0.685 | 13027.74 | 6727.13 | 878.48 | 238000 |  | 36549.68 |  | 104800 |  |  | 16947.1 | 30800 |  | 4391.18 |  | 373600 | 40940.86 | 16947 | 57887.96 | 0.11 | 0.05 | 0.1549
2018-01-01 | 47915 | 17453.32 | 2351 | 23519 | 10877.44 | 26428 | 9765.22 |  |  | 2569 | 1743.46 |  |  | 76912 | 28962 | 10877.44 | 39839.44 | 0.3766 | 0.1414 | 0.518 | 22165.48 | 12225.59 | 1188.42 | 254000 |  | 38986.47 |  | 116800 |  |  | 18142.88 | 30400 |  | 4466.72 |  | 401200 | 43453.19 | 18142.88 | 61596.07 | 0.1083 | 0.0452 | 0.154
2017-12-01 | 46547 | 13120.8 |  |  | 21972.02 | 18941 | 5690.43 |  | 8604.96 | 3208 | 1654.82 |  | 1514.27 | 68696 | 20466.05 | 32091.25 | 52557.3 | 0.2979 | 0.4671 | 0.765 | 21532.64 | 8762.11 | 1484.02 | 253200 | 554 | 15793.58 | 22686.72 | 116000 | 349.4 | 8967.63 | 10393.6 | 31200 | 56 | 1766.79 | 2795.52 | 400400 | 26528 | 35875.84 | 62403.84 | 0.0663 | 0.0896 | 0.156
2017-11-01 | 35593 | 12924.8 |  |  | 16797.93 | 17926 | 6814.95 |  | 8150.45 | 1849 | 1147.81 |  | 872.6 | 55368 | 20887.56 | 25820.98 | 46708.54 | 0.3772 | 0.4664 | 0.844 | 16465.32 | 8292.57 | 855.35 | 255600 | 608 | 18095.73 | 22901.76 | 132000 | 325.4 | 9821.72 | 11827.2 | 31200 | 56 | 1808.61 | 2795.52 | 418800 | 29726.06 | 37524.48 | 67250.54 | 0.071 | 0.0896 | 0.161
2017-10-01 | 25140 | 17351.04 |  |  | 11864.76 | 10102 | 7539.3 |  | 4606.2 | 598 | 637.34 |  | 282.23 | 35840 | 25527.68 | 16753.19 | 42280.87 | 0.7123 | 0.4674 | 1.18 | 11629.76 | 4673.19 | 276.63 | 296000 | 810 | 20905.95 | 26521.6 | 137600 | 395 | 9850.07 | 12328.96 | 42000 | 92 | 2565.9 | 3763.2 | 475600 | 33321.92 | 42613.76 | 75935.68 | 0.0701 | 0.0896 | 0.16
2017-09-01 | 20224 | 7812.54 |  |  | 11665.3 | 5672 | 2616.16 |  | 2586.26 | 445 | 309.51 |  | 209.98 | 26341 | 10738.21 | 14461.54 | 25199.75 | 0.4077 | 0.549 | 0.957 | 9355.62 | 2623.87 | 205.86 | 324400 | 806 | 38760.72 | 29066.24 | 185600 | 437.7 | 23903.07 | 16629.76 | 46400 | 108 | 5163.01 | 4157.44 | 556400 | 67826.8 | 49853.44 | 117680.24 | 0.1219 | 0.0896 | 0.212
2017-08-01 | 14183 | 5644.95 |  |  | 9730.89 | 5537 | 2495.81 |  | 2529.64 | 274 | 207.52 |  | 129.34 | 19994 | 8348.28 | 12389.87 | 20738.15 | 0.4175 | 0.6197 | 1.037 | 6561.06 | 2561.42 | 126.75 | 501200 | 936.4 | 55375.96 | 44907.52 | 157600 | 445.4 | 22636.67 | 14120.96 | 44000 | 84 | 4711.33 | 3942.4 | 702800 | 82723.96 | 62970.88 | 145694.84 | 0.1177 | 0.0896 | 0.207
2017-07-01 | 9297 | 3844.94 |  |  | 4387.67 | 8781 | 3660.15 |  | 4011.53 | 234 | 179.36 |  | 110.42 | 18312 | 7684.45 | 8509.62 | 16194.07 | 0.4196 | 0.4647 | 0.884 | 4300.79 | 4062.09 | 108.25 | 486800 | 957.8 | 52590.03 | 43617.28 | 144000 | 396.9 | 20345.76 | 12902.4 | 45200 | 92 | 5008.27 | 4049.92 | 676000 | 77944.06 | 60569.6 | 138513.66 | 0.1153 | 0.0896 | 0.205
2017-06-01 | 16234 | 6393.56 |  |  | 7661.44 | 10040 | 4157.9 |  | 4582.56 | 252 | 192.55 |  | 118.93 | 26526 | 10744.01 | 12362.93 | 23106.94 | 0.405 | 0.4661 | 0.871 | 7509.85 | 4644.5 | 116.58 | 359600 | 858.4 | 47014.17 | 32220.16 | 142400 | 455 | 23935.41 | 12759.04 | 46400 | 96 | 5410.04 | 4157.44 | 548400 | 76359.62 | 49136.64 | 125496.26 | 0.1392 | 0.0896 | 0.229
2017-05-01 | 19555 | 6383.61 |  |  | 9228.73 | 13739 | 4621.58 |  | 6276.88 | 374 | 237.11 |  | 176.49 | 33668 | 11242.3 | 15682.1 | 26924.4 | 0.3339 | 0.4658 | 0.8 | 9046.14 | 6355.66 | 173.01 | 334000 | 724 | 26146.49 | 29926.4 | 148800 | 364.3 | 12361.81 | 13332.48 | 37200 | 88 | 3068.4 | 3333.12 | 520000 | 41576.7 | 46592 | 88168.7 | 0.08 | 0.0896 | 0.17
2017-04-01 | 20896 | 10437.88 |  |  | 9861.8 | 11717 | 6157.34 |  | 5337.72 | 625 | 520.64 |  | 294.96 | 33238 | 17115.86 | 15494.48 | 32610.34 | 0.5149 | 0.4662 | 0.981 | 9666.49 | 5420.28 | 289.13 | 278000 | 726 | 19607.92 | 24908.8 | 128000 | 391.6 | 9842.03 | 11468.8 | 36800 | 84 | 2387.04 | 3297.28 | 442800 | 31836.99 | 39674.88 | 71511.87 | 0.0719 | 0.0896 | 0.161
2017-03-01 | 17401 | 5091.64 |  |  | 8212.27 | 18158 | 5502.13 |  | 8263.75 | 2040 | 1090.48 |  | 962.77 | 37599 | 11684.25 | 17438.79 | 29123.04 | 0.3108 | 0.4638 | 0.775 | 8049.7 | 8399.89 | 943.7 | 300800 | 637.6 | 19594.54 | 25989.12 | 101600 | 301.9 | 8239.61 | 9557.31 | 28400 | 60 | 1840.75 | 2453.76 | 430800 | 29674.9 | 38000.19 | 67675.09 | 0.0689 | 0.0882 | 0.157
2017-02-01 | 37130 | 17170.44 |  |  | 17523.43 | 14556 | 6964.84 |  | 6630.81 | 2157 | 1693.46 |  | 1018 | 53843 | 25828.74 | 25172.24 | 51000.98 | 0.4797 | 0.4675 | 0.947 | 17176.34 | 6733.61 | 997.83 | 216400 | 487.6 | 18339.93 | 18675.32 | 136000 | 317.2 | 11729.15 | 12793.25 | 30800 | 64 | 2455.31 | 2661.12 | 383200 | 32524.39 | 34129.69 | 66654.08 | 0.0849 | 0.0891 | 0.174
2017-01-01 | 43056 | 18652.15 |  |  | 20320.13 | 16203 | 7263.34 |  | 7381.2 | 2919 | 2166.51 |  | 1377.58 | 62178 | 28082 | 29078.91 | 57160.91 | 0.4516 | 0.4677 | 0.919 | 19917.71 | 7495.51 | 1350.33 | 232400 | 560.8 | 17278.22 | 20079.36 | 163200 | 345.1 | 11301.6 | 15351.9 | 32000 | 104 | 2730.76 | 2410.56 | 427600 | 31310.58 | 37841.82 | 69152.4 | 0.0732 | 0.0885 | 0.162
2016-12-01 | 37053 | 10680.03 |  |  | 16370.41 | 18868 | 5672.78 |  | 8054.49 | 2119 | 1196.49 |  | 936.19 | 58040 | 17549.3 | 25361.09 | 42910.39 | 0.3024 | 0.437 | 0.739 | 141211.43 | 70024.69 | 6927.44 | 282000 | 565.9 | 25758.09 | 26527.18 | 121600 | 361.4 | 13126.43 | 11438.67 | 27200 | 64 | 2674.02 | 2558.65 | 430800 | 41558.54 | 40524.5 | 82083.04 | 0.0965 | 0.0941 | 0.191
2016-11-01 | 29322 | 10057.12 |  |  | 12957.93 | 18837 | 6805.22 |  | 8043.03 | 1682 | 1076.47 |  | 743.29 | 49841 | 17938.81 | 21744.25 | 39683.06 | 0.3599 | 0.4363 | 0.796 | 149226.37 | 68961.96 | 7067.57 | 288000 | 727.4 | 28965.68 | 27091.58 | 120000 | 325.4 | 12800.02 | 11288.16 | 30000 | 52 | 2577.75 | 2822.04 | 438000 | 44343.45 | 41201.78 | 85545.23 | 0.1012 | 0.0941 | 0.195
2016-10-01 | 19453 | 6658.86 |  |  | 8596.84 | 13777 | 4690.2 |  | 5899.67 | 766 | 494.05 |  | 338.55 | 33996 | 11843.11 | 14835.06 | 26678.17 | 0.3484 | 0.4364 | 0.785 |  |  |  | 296000 | 763.2 | 26920.33 | 27844.13 | 116800 | 340.3 | 11186.48 | 10987.14 | 39600 | 100 | 3576.95 | 3725.09 | 452400 | 41683.76 | 42556.36 | 84240.12 | 0.0921 | 0.0941 | 0.186
2016-09-01 | 18873 | 6196.6 |  |  | 8340.4 | 8801 | 3220.95 |  | 3765.22 | 422 | 278.34 |  | 186.49 | 28096 | 9695.89 | 12292.11 | 21988 | 0.3451 | 0.4375 | 0.783 |  |  |  | 317200 | 945.8 | 32699.82 | 29838.37 | 188800 | 466 | 18980.52 | 17760.04 | 50800 | 120 | 4615.47 | 4778.65 | 556800 | 56295.81 | 52377.06 | 108672.87 | 0.1011 | 0.0941 | 0.195
2016-08-01 | 15417 | 5284.53 |  |  | 6813.15 | 8965 | 3253.89 |  | 3831.49 | 217 | 165.95 |  | 95.91 | 24599 | 8704.37 | 10740.55 | 19444.92 | 0.3539 | 0.4366 | 0.79 |  |  |  | 407200 | 959 | 39101.49 | 38304.49 | 145600 | 410.4 | 14734.37 | 13696.3 | 57600 | 140 | 5650.77 | 5418.32 | 610400 | 59486.63 | 57419.11 | 116905.74 | 0.0975 | 0.0941 | 0.192
2016-07-01 | 15158 | 5221.18 |  |  | 6698.85 | 8904 | 3275.63 |  | 3809.39 | 120 | 106.13 |  | 53.04 | 24182 | 8602.94 | 10561.28 | 19164.22 | 0.3558 | 0.4367 | 0.792 |  |  |  | 348400 | 920.6 | 35079.85 | 32773.29 | 163200 | 442.5 | 16755.53 | 15351.9 | 55200 | 120 | 5015.43 | 5192.55 | 566800 | 56850.81 | 53317.74 | 110168.55 | 0.1003 | 0.0941 | 0.194
2016-06-01 | 20384 | 7371.65 |  |  | 9008.07 | 9198 | 3620.8 |  | 3946.39 | 172 | 143.72 |  | 76.01 | 29754 | 11136.17 | 13030.47 | 24166.64 | 0.3743 | 0.4379 | 0.812 |  |  |  | 266000 | 841.2 | 30393.04 | 25022.09 | 116000 | 383 | 13716.27 | 10911.89 | 55200 | 104 | 4744.95 | 5192.55 | 437200 | 48854.26 | 41126.53 | 89980.79 | 0.1117 | 0.0941 | 0.206
2016-05-01 | 18581 | 6762.48 |  |  | 8211.53 | 10836 | 4045.4 |  | 4649.02 | 248 | 191.73 |  | 109.58 | 29665 | 10999.61 | 12970.13 | 23969.74 | 0.3708 | 0.4372 | 0.808 |  |  |  | 302000 | 895.4 | 31415.87 | 28408.54 | 107200 | 427.6 | 13363.54 | 10084.09 | 43600 | 88 | 3732 | 4101.36 | 452800 | 48511.41 | 42593.99 | 91105.4 | 0.1071 | 0.0941 | 0.201
2016-04-01 | 23236 | 7427.55 |  |  | 10268.45 | 8847 | 3108.69 |  | 3774.05 | 771 | 479.9 |  | 340.76 | 32854 | 11016.14 | 14383.26 | 25399.4 | 0.3353 | 0.4378 | 0.773 |  |  |  | 231200 | 646.8 | 21253.61 | 27663.92 | 123200 | 326.8 | 11113.67 | 14741.33 | 39600 | 88 | 3260.33 | 4738.28 | 394000 | 35627.61 | 47143.53 | 82771.14 | 0.0904 | 0.1197 | 0.21
2016-03-01 | 18539 | 8754.52 |  |  | 8192.7 | 6332 | 3484.12 |  | 2695.75 | 1290 | 1019.57 |  | 570.08 | 26161 | 13258.21 | 11458.53 | 24716.74 | 0.5068 | 0.438 | 0.945 | 0.43 | 0.94 |  | 322000 | 654.7 | 29523.37 | 35387.8 | 155200 | 398.8 | 15735.54 | 17056.48 | 36800 | 72 | 3341.21 | 4044.32 | 514000 | 48600.12 | 56488.6 | 105088.72 | 0.0946 | 0.1099 | 0.204
2016-02-01 | 37202 | 13679.49 |  |  | 16440.44 | 3176 | 1662.43 |  | 1352.31 | 2730 | 1801.94 |  | 1206.48 | 43108 | 17143.86 | 18999.23 | 36143.09 | 0.3977 | 0.4407 | 0.838 | 0.43 | 0.83 |  | 258000 | 576 | 21619.24 | 28354.2 | 175200 | 330.2 | 13965.41 | 19254.48 | 43600 | 80 | 3356.2 | 4791.64 | 476800 | 38940.85 | 52400.32 | 91341.17 | 0.0817 | 0.1099 | 0.192
2016-01-01 | 41501 | 18912.58 |  |  | 18340.16 | 23260 | 10861 |  | 9912.38 | 2741 | 2101.11 |  | 1211.32 | 67502 | 31875.05 | 29463.86 | 61338.91 | 0.4722 | 0.4365 | 0.909 | 0.43 | 0.9 | 0.4514 | 259200 | 573.3 | 24584.3 | 28486.08 | 158400 | 312.9 | 14071.52 | 17408.16 | 44400 | 76 | 3802.73 | 4879.56 | 462000 | 42458.55 | 50773.8 | 93232.35 | 0.0919 | 0.1099 | 0.202
2015-12-01 | 36469 | 21035.43 |  |  | 16097.74 | 8352 | 5521.76 |  | 3562.24 | 1572 | 1504.22 |  | 693.85 | 46393 | 28061.41 | 20353.83 | 48415.24 | 0.6049 | 0.4387 | 1.044 | 0.43 | 1.04 | 0.884 | 256800 | 581 | 24005.76 | 28222.32 | 141600 | 397.9 | 14480.4 | 15561.84 | 36400 | 68 | 3154.12 | 4000.36 | 434800 | 41640.28 | 47784.52 | 89424.8 | 0.0958 | 0.1099 | 0.206
2015-11-01 | 20108 | 10296.98 |  |  | 9316.04 | 9108 | 4960.88 |  | 3352.9 | 1058 | 928.6 |  | 490.17 | 30274 | 16186.46 | 13159.11 | 29345.57 | 0.5347 | 0.4347 | 0.969 | 0.43 | 0.97 |  | 342400 | 703.6 | 29869.93 | 37629.76 | 219200 | 454 | 19527.39 | 24090.08 | 44000 | 68 | 3420.71 | 4835.6 | 605600 | 52818.03 | 66555.44 | 119373.47 | 0.0872 | 0.1099 | 0.197
2015-10-01 | 15101 | 6894.92 |  |  | 8230.05 | 4832 | 2476.64 |  | 2633.44 | 641 | 524.03 |  | 349.35 | 20574 | 9895.59 | 11212.84 | 21108.43 | 0.481 | 0.545 | 1.026 |  |  |  | 338800 | 810.9 | 27772.47 | 37234.12 | 186400 | 441.1 | 14980.32 | 20485.36 | 40800 | 104 | 3470.25 | 4483.92 | 566000 | 46223.04 | 62203.4 | 108426.44 | 0.0817 | 0.1099 | 0.192
2015-09-01 | 17815 | 5840.98 |  |  | 9709.18 | 0 | 33.35 |  | 0 | 378 | 266.58 |  | 206.01 | 18193 | 6140.91 | 9915.19 | 16056.1 | 0.3375 | 0.545 | 0.883 |  | Delta | 0.1124 | 365200 | 926.1 | 36167.26 | 40135.48 | 269600 | 501.6 | 23090.31 | 29629.04 | 74800 | 152 | 6577.11 | 8220.52 | 709600 | 65834.68 | 77985.04 | 143819.72 | 0.0928 | 0.1099 | 0.203
2015-08-01 | 28434 | 10972.35 |  |  | 15496.53 | 1316 | 742.01 |  | 717.22 | 187 | 162.71 |  | 101.92 | 29937 | 11877.07 | 16315.67 | 28192.74 | 0.3967 | 0.545 | 0.942 | 2691.34 | 13624.33 |  | 377600 | 922.8 | 36113.45 | 41498.24 | 208000 | 532.3 | 20467.57 | 22859.2 | 67600 | 152 | 6190.94 | 7429.24 | 653200 | 62771.96 | 71786.68 | 134558.64 | 0.0961 | 0.1099 | 0.206
2015-07-01 | 17579 | 7043.23 |  |  | 9580.56 | 1953 | 1084 |  | 1064.39 | 187 | 163.23 |  | 101.92 | 19719 | 8290.46 | 10746.87 | 19037.33 | 0.4204 | 0.545 | 0.965 | 1772.74 | 8974.13 |  | 433600 | 1014 | 40091.22 | 47652.64 | 215200 | 438.2 | 18580.1 | 23650.48 | 66000 | 144 | 5893.87 | 7253.4 | 714800 | 64565.19 | 78556.52 | 143121.71 | 0.0903 | 0.1099 | 0.2
2015-06-01 | 22421 | 9047.29 |  |  | 12219.45 | 2190 | 1234.18 |  | 1193.55 | 219 | 187.84 |  | 119.36 | 24830 | 10469.31 | 13532.36 | 24001.67 | 0.4216 | 0.545 | 0.967 | 2232.22 | 11300.14 |  | 304000 | 874 | 33194.07 | 33409.6 | 204000 | 446.8 | 19953.76 | 22419.6 | 67200 | 136 | 6069.96 | 7385.28 | 575200 | 59217.79 | 63214.48 | 122432.27 | 0.103 | 0.1099 | 0.213
2015-05-01 | 27304 | 13538.58 |  |  | 14880.68 | 10012 | 5443.84 |  | 5456.54 | 299 | 287.38 |  | 162.96 | 37615 | 19269.8 | 20500.18 | 39769.98 | 0.5123 | 0.545 | 1.057 | 3381.59 | 17118.59 |  | 334400 | 857.7 | 32337.3 | 36750.56 | 148800 | 386.4 | 13915.79 | 16353.12 | 60800 | 120 | 5170.02 | 6681.92 | 544000 | 51423.11 | 59785.6 | 111208.71 | 0.0945 | 0.1099 | 0.204
2015-04-01 | 22709 | 9342.53 |  |  | 12376.41 | 10753 | 4651.05 |  | 5860.39 | 702 | 528.86 |  | 382.59 | 34164 | 14522.44 | 18619.39 | 33141.83 | 0.4251 | 0.545 | 0.97 | 3071.34 | 15548.05 |  | 300400 | 698.4 | 27368.37 | 33013.96 | 115200 | 383 | 12568.07 | 12660.48 | 45600 | 120 | 4400.51 | 5011.44 | 461200 | 44336.95 | 50685.88 | 95022.83 | 0.0961 | 0.1099 | 0.206
2015-03-01 | 33441 | 11402.18 |  |  | 18225.35 | 14474 | 5269.57 |  | 7888.33 | 1673 | 1072.05 |  | 911.79 | 49588 | 17743.8 | 27025.47 | 44769.27 | 0.3578 | 0.545 | 0.903 | 4457.96 | 22567.51 |  | 233200 | 558.7 | 20820.76 | 25628.68 | 88800 | 303.8 | 9561.62 | 9759.12 | 40400 | 72 | 3192.74 | 4439.96 | 362400 | 33575.12 | 39827.76 | 73402.88 | 0.0926 | 0.1099 | 0.203
2015-02-01 | 51624 | 13404.49 |  |  | 28135.08 | 25709 | 6892.09 |  | 14011.41 | 3477 | 1813.31 |  | 1894.97 | 80810 | 22109.89 | 44041.46 | 66151.35 | 0.2736 | 0.545 | 0.819 | 7264.82 | 36776.64 |  | 256400 | 602.8 | 25032.59 | 28178.36 | 88800 | 273.6 | 9979.8 | 9759.12 | 50000 | 84 | 4255.88 | 5495 | 395200 | 39268.27 | 43432.48 | 82700.75 | 0.0994 | 0.1099 | 0.209
2015-01-01 | 48410 | 17673.24 |  |  | 26383.45 | 23103 | 8657 |  | 12591.14 | 2959 | 1904.35 |  | 1612.66 | 74472 | 28234.59 | 40587.25 | 68821.84 | 0.3791 | 0.545 | 0.924 | 6695.03 | 33892.22 |  | 281200 | 624 | 24189.06 | 30903.88 | 75200 | 277.9 | 8516.48 | 8264.48 | 44800 | 84 | 3591.34 | 4923.52 | 401200 | 36296.88 | 44091.88 | 80388.76 | 0.0905 | 0.1099 | 0.2
2014-12-01 | 53179 | 22411.46 |  |  | 28982.56 | 20786 | 9271.94 |  | 11328.37 | 2069 | 1514.46 |  | 1127.61 | 76034 | 33197.86 | 41438.54 | 74636.4 | 0.4366 | 0.545 | 0.982 | 6835.46 | 34603.08 |  | 284400 | 562 | 22826.66 | 31255.56 | 79200 | 307.2 | 9238.11 | 8704.08 | 39600 | 72 | 3069.75 | 4352.04 | 403200 | 35134.52 | 44311.68 | 79446.2 | 0.0871 | 0.1099 | 0.197
2014-11-01 | 36303 | 12751.74 |  |  | 19785.14 | 18748 | 6886.62 |  | 10217.66 | 1900 | 1213.23 |  | 1035.5 | 56951 | 20851.59 | 31038.3 | 51889.89 | 0.3661 | 0.545 | 0.911 | 5119.89 | 25918.41 |  | 253600 | 608.1 | 23872.88 | 27870.64 | 112000 | 357.6 | 12486.24 | 12308.8 | 38000 | 72 | 3237.88 | 4176.2 | 403600 | 39597 | 44355.64 | 83952.64 | 0.0981 | 0.1099 | 0.208
2014-10-01 | 21197 | 11471.62 |  |  | 11552.37 | 11627 | 6517.39 |  | 6336.72 | 677 | 615.07 |  | 368.97 | 33501 | 18604.08 | 18258.05 | 36862.13 | 0.5553 |  |  | 3011.74 | 15246.31 |  | 302800 | 716.8 | 28798.93 | 33277.72 | 168800 | 435.3 | 16535.84 | 18551.12 | 42400 | 100 | 4038.03 | 4659.76 | 514000 | 49372.8 | 56488.6 | 105861.4 | 0.0961 | 0.1099 | 0.206
2014-09-01 | 23819 | 10843.67 |  |  | 12981.36 | 5623 | 2955.7 |  | 3064.54 | 369 | 307.54 |  | 201.11 | 29811 | 14106.91 | 16247 | 30353.91 | 0.4732 |  |  | 2680.01 | 13566.99 |  | 295600 | 768.9 | 30083.83 | 32486.44 | 187200 | 443 | 18545.63 | 20573.28 | 57200 | 148 | 5811.75 | 6286.28 | 540000 | 54441.21 | 59346 | 113787.21 | 0.1008 | 0.1099 | 0.211
2014-08-01 | 24888 | 10994.78 |  |  | 13563.96 | 607 | 401.76 |  | 330.82 | 195 | 176.93 |  | 106.28 | 25690 | 11573.47 | 14001.05 | 25574.52 | 0.4505 | [5 empty] | 328400 | 759.1 | 34022.39 | 36091.16 | 180000 | 413.2 | 18665.26 | 19782 | 57600 | 148 | 6311 | 6330.24 | 566000 | 58998.65 | 62203.4 | 121202.05 | 0.1042 | 0.1099 | 0.214
2014-07-14 | 17596 | 7911.8 |  |  | 9589.82 | 0 | 30.23 |  | 0 | 206 | 183.61 |  | 112.27 | 17802 | 8125.64 | 9702.09 | 17827.73 | 0.4564 | [5 empty] | 397600 | 953.2 | 37164.3 | 47576.47 | 205600 | 432.4 | 17911.7 | 24601.92 | 60400 | 140 | 5555.49 | 7227.41 | 663600 | 60631.49 | 79405.8 | 140037.29 | 0.0914 | 0.1197 | 0.211
2014-06-01 | 21362 | 9612.68 |  |  | 11642.29 | 41 | 63.82 |  | 22.35 | 264 | 230.13 |  | 143.88 | 21667 | 9906.63 | 11808.52 | 21715.15 | 0.4572 |  |  |  | 249136.4 | 747409.2 | 366000 | 865.4 | 36705.36 | 43795.24 | 191200 | 425.7 | 18658.59 | 22878.82 | 58400 | 128 | 5629.54 | 6988.09 | 615600 | 60993.49 | 73662.15 | 134655.64 | 0.0991 | 0.1197 | 0.219
2014-05-01 | 23233 | 11929.52 |  |  | 12661.99 | 4410 | 2734.88 |  | 2403.45 | 338 | 314.07 |  | 184.21 | 27981 | 14978.47 | 15249.65 | 30228.12 | 0.5353 | [5 empty] | 334000 | 793.6 | 31525.85 | 40161.66 | 211200 | 487.2 | 19648.9 | 26184.08 | 40400 | 108 | 4053.17 | 5896.2 | 585600 | 55227.92 | 72241.94 | 127469.86 | 0.0943
2014-04-01 | 15394 | 7069 |  |  | 8389.73 | 6894 | 3396.13 |  | 3757.23 | 712 | 551.89 |  | 388.04 | 23000 | 11017.02 | 12535 | 23552.02 | 0.479 | [5 empty] | 378800 | 723.6 | 27161.73 | 36619.18 | 163200 | 444 | 14077.08 | 23862.34 | 31200 | 84 | 2675.54 | 4585.93 | 573200 | 43914.35 | 65067.45 | 108981.8 | 0.0766
2014-03-01 | 27567 | 10738.09 |  |  | 15024.02 | 12564 | 5274.94 |  | 6847.38 | 2029 | 1304.84 |  | 1105.81 | 42160 | 17317.87 | 22977.2 | 40295.07 | 0.4108 | [5 empty] | 342000 | 638.6 | 25354.43 | 32317.59 | 163200 | 370.5 | 13710.95 | 19912.15 | 31200 | 56 | 2293.87 | 3057.29 | 536400 | 41359.25 | 55287.03 | 96646.28 | 0.0771
2014-02-01 | 115845 | 45741.78 |  |  | 63135.54 | 18985 | 7497.49 |  | 10346.83 | 3296 | 2015.64 |  | 1796.32 | 138126 | 55254.91 | 75278.69 | 130533.6 | 0.4 | [5 empty] | 238000 | 630.7 | 15938.71 | 31917.79 | 166400 | 352.3 | 9024.63 | 18934.01 | 37200 | 72 | 2006.78 | 3930.8 | 441600 | 26970.12 | 54782.6 | 81752.72 | 0.0611
2014-01-01 | [5 empty] | 17853 | 7719.43 |  | 9729.89 | 3435 | 2229.12 |  | 1872.08 | 21288 | 9948.55 | 11601.96 | 21550.51 | 0.4673 | [5 empty] | 242800 | 606.4 | 20674.56 | 30688.04 | 155200 | 300.9 | 11736.97 | 16171.57 | 36800 | 68 | 2729.73 | 3712.42 | 434800 | 35141.26 | 50572.04 | 85713.3 | 0.0808